Kevin O’Donnell, Canon Medical Research USA

Exchanging Imaging Documents Outside a Specific Health Information Exchange Domain

Recommend addition of IHE PDI (Portable Data for Imaging) with an adoption of 5. Add a corresponding note to acknowledge that network transfers are clearly preferable to digital media, but when network solutions are not yet in place, transfer using digital media is preferable to no transfer at all.  PDI does work and is successfully used widely.

https://www.ihe.net/uploadedFiles/Documents/Radiology/IHE_RAD_TF_Vol1.pdf