Kevin O’Donnell, Canon Medical Research USA

Format of Radiology Reports for Exchange and Distribution

Recommend either removing the entry for MRRT or re-casting the purpose of this section.  IHE Management of Radiology Report Templates provides a format for the exchange of templates between systems that radiologists use to author diagnostic reports.  MRRT is not a format for the exchange of the actual diagnostic report document (which may or may not have used a template to guide the authoring) between repositories of patient reports.