Section II_Comments from Kinson Ho, Change Healthcare

- Section II:

  - Under “Clinical Decision Support”

    - For “Communicate Appropriate Use Criteria with the Order and Charge to the Filling Provider and Billing System for Inclusion on Claims”, the Adoption Level for IHE CDS-OAT should be 1

  - Under “Images”

    - For “Format of Radiation Exposure Dose Reports for Exchange and Distribution”, recommend to also include the following:

      - IHE Radiation Exposure Monitoring (REM) profile (Section 22 in https://www.ihe.net/uploadedFiles/Documents/Radiology/IHE_RAD_TF_Vol1.pdf). Adoption level should be 2.

      - IHE Radiation Exposure Monitoring for Nuclear Medicine (REM-NM) profile (https://www.ihe.net/uploadedFiles/Documents/Radiology/IHE_RAD_Suppl_REM-NM.pdf). Adoption level should be 1.

    - For “Format of Radiology Reports for Exchange and Distribution, recommend to also include the following

      - IHE Results Distribution (RD) profile (https://www.ihe.net/uploadedFiles/Documents/Radiology/IHE_RAD_Suppl_RD.pdf). Adoption level should be 1